REQUEST FOR PROPOSAL

FOR

SOUTH KITSAP SCHOOL DISTRICT

UPS UPGRADES

RESPONSES DUE 28 DAYS FROM USAC E-RATE POSTING DATE

South Kitsap School District #402

2689 Hoover Ave SE

Port Orchard, WA 98366

OVERVIEW	3

INSTRUCTIONS TO VENDORS	3

1.  INTERPRETATION OF PLANS AND DOCUMENTS:	3

2. PREPARATION OF PROPOSAL:	3

3. DELIVERY OF PROPOSAL:	4

4. TAXES:	4

5. CONTRACT DEFAULT:	4

6. VENDOR E-RATE ELIGIBLITY:	5

7. VENDOR/SOUTH KITSAP SCHOOL DISTRICT RELATIONSHIP:	5

8. NON-DISCRIMINATION AGREEMENT:	5

9. BILLING:	5

10. REJECTION OF PROPOSALS:	6

11. AWARDING BASIS:	6

12. CONFLICTS OF INTEREST:	6

13. PRICE GUARANTEE:	6

14. DURATION OF CONTRACT:	6

15. ASSIGNMENT OF CONTRACT:	7

16. ADVERTISING:	7

17. CONTACT INFORMATION:	7

PROJECT REQUIREMENTS	8

EXISTING NETWORK CONFIGURATION:	8

DESIRED NETWORK EQUIPMENT:	8

EQUIPMENT:	9

APPENDIX A. CERTIFICATIONS:	15

Debarment:	15

Non-Collusion:	15

Non-Discrimination:	15

Contract Addendums:	15

APPENDIX B. Site Shipping addresses:	16

# OVERVIEW

The South Kitsap School District #402 (the “District”) is requesting proposals to upgrade Uninterruptible Power Supplies (UPS) to support the network equipment at several school campus as provided under Priority 2 / Internal Connections of the Federal E-rate program. The District will entertain proposals in the following categories:

- EQUIPMENT: UPS hardware and network monitoring

Vendors must be able to provide products and services in compliance with Federal E-rate regulations, including having a valid SPIN number. Proposals from vendors without a SPIN number will not be considered.

This RFP is being posted and advertised in compliance with Washington State RCW 39.04.270.

# INSTRUCTIONS TO VENDORS

## 1.  INTERPRETATION OF PLANS AND DOCUMENTS:

If any person contemplating submitting a response for the proposed contract is in doubt as to the true meaning of any part of the plans, specifications, or other contract documents, or find discrepancies in, or omissions from, the plans or specifications, the person may submit to the authorized representative a written request for an interpretation or correction thereof. The person submitting the request will be responsible for its prompt delivery. Such request must be submitted not less than five (5) days prior to the response due date. Any interpretation or correction of the contract documents will be made only by written addendum duly issued and a copy of such addendum will be posted on the district web site next to the original RFP document. South Kitsap School District will not be responsible for any other explanations or interpretations of the contract documents. No oral interpretation of any provision in the contract documents will be made to any vendor or binding on South Kitsap School District.

## 2. PREPARATION OF PROPOSAL:

Each proposal shall include the following items:

- Vendor’s Name, Address, Contact Information (including Agent’s Name and Telephone Number), SPIN Number

- Pricing for equipment and services listed, signed by a person authorized to provide pricing and enter contracts, with the signature in full. (Failure to sign the response shall be deemed non-responsive.)

- Pricing must be broken out by school, except for add on pricing.

- References of at least three (3) customers of similar size and scope, with at least one (1) of those being a school district in the State of Washington and at least one (1) of them where you have provided services that generated Federal E-Rate funding for at least two years.

- Appendix A – Certifications

- For responses to the wiring portion, include contractor license number

- Any additional documents that would be required by your organization to enter into this contract (including sample terms and conditions)

Any omission of prices on required items shown in the proposal form may render the proposal as being incomplete and may become cause for rejection of the proposal, at the sole discretion of the District. When not responding on an item, specify by a N/A in the appropriate space.

No vendor may withdraw a proposal after the date and hour set for the delivery of responses thereof and before the award of the contract, unless said award is delayed for a period exceeding forty-five (45) days.

## 3. DELIVERY OF PROPOSAL:

- Each proposal shall be completely sealed in a separate envelope, properly addressed to the South Kitsap School District at the address indicated on the proposal form, with the name and address of the vendor and the name of the project for which the response was submitted, plainly written on the outside of the envelope.

- Sealed proposals will be received at the time and place stated in this Request for Proposal. It is the sole responsibility of the vendor to see that the proposal is delivered on time. Any proposal received after the scheduled closing time for receipt of proposals will be returned to the vendor unopened.

- Proposals shall be submitted intact, including all proposal documents and acknowledgment of all addenda posted on the South Kitsap School District web site.

- Upon delivery, proposals become the property of the South Kitsap School District.

PROPOSALS ARE DUE at 4:00 p.m. on the CLOSING DATE (USAC POSTING DATE + 28 DAYS), and MUST BE MAILED/DELIVERED TO:

South Kitsap School District -- Reception Desk

2689 Hoover Ave SE

Port Orchard, WA 98366

ENVELOPE MUST BE CLEARLY MARKED:

Request for Proposal for South Kitsap UPS Upgrades,

Attn: Kerry Melcher

NOTE: Faxed, e-mailed or electronic copies will NOT be accepted.

## 4. TAXES:

Proposals shall include any applicable taxes. South Kitsap School District is exempt from certain Federal Taxes, and exemption certificates will be furnished. Vendor is responsible for any taxes that are applicable to the services and products provided.

## 5. CONTRACT DEFAULT:

Proposals are subject to all terms and conditions as herein established in this request for proposal and includes price, quality, and delivery. Failure to provide items by the agreed project timeline and at the prices proposed will be considered contract default and the Purchasing Department reserves the right to declare the contract terminated and to purchase the merchandise on the open market. If a greater price than the contract price has been paid by the South Kitsap School District Purchasing Department, such increase shall be the vendor’s responsibility.

## 6. VENDOR E-RATE ELIGIBLITY:

Vendors must have an active Service Provider Identification Number (SPIN) assigned by the Schools and Libraries Division (SLD), and maintain the valid SPIN number for the duration of the contract. Failure to maintain a valid SPIN number may result in default of this contract.

## 7. VENDOR/SOUTH KITSAP SCHOOL DISTRICT RELATIONSHIP:

Vendor’s relationship to South Kitsap School District in the performance of services that may be required for certain items shall be that of an independent contractor. The personnel performing services under this contract shall at all times be under vendor’s exclusive direction and control and shall be employees of vendor and not employees of South Kitsap School District. Vendor shall cover or insure all of its employees performing services under this contract in compliance with the applicable laws relating to workman's compensation and employers’ liability insurance.

## 8. NON-DISCRIMINATION AGREEMENT:

Vendor agrees not to discriminate against any client, employee or applicant for employment because of race, creed, color, national origin, sex, or age and agrees to comply with any applicable affirmative action programs. This provision shall become a material part of the contract and shall be grounds, if violated, for termination of the contractual relationship at the discretion of South Kitsap School District.

## 9. BILLING:

Vendor must be willing to accept direct payment from the Schools and Libraries Division (SLD) of the Universal Service Administration Company (USAC) for the eligible portion of services provided.

Funding Commitment Considerations

As described in e-rate program rules, both the South Kitsap School District (District) and the vendor will receive a Funding Commitment Decision Letter (FCDL) stating how much of the Service Cost will be paid for by the Schools and Libraries Division (SLD) of the Universal Service Administrative Company (USAC).  The portion of the Service Cost paid for by USAC is defined on the FCDL and is referred to as the Discounted Portion.  The difference between the Service Cost and the Discounted Portion is referred to as the Undiscounted Portion.  In some cases, the FCDL may state that the funding is completely denied.  A “Funding Year” is synonymous to USAC’s definition of a funding year, which is generally from July 1st until June 30th of the next year.  An FCDL will be issued for each Funding Year, and is only applicable to that Funding Year.

Price and Payment if Funding is Approved

If the FCDL shows that funding is approved then the District, at its discretion, may choose to have the Amount Due be the Undiscounted Portion instead of the total Service Cost.

Price and Payment if Funding is Denied

If the FCDL states that funding is completely denied for the Services then the District may terminate the Services on or after the date it receives the FCDL by providing a request in writing (“Termination Request”) to the Vendor.  The date that the District requests to terminate the Service (“Termination Date”) will be at least 15 days after the Termination Request.

## 10. REJECTION OF PROPOSALS:

South Kitsap School District reserves the right to reject any or all proposals and to not make an award. The award of the contract, if made by South Kitsap School District, will be made to the qualified vendor submitting the most satisfactory proposal based on the criteria in section 11, if it is to South Kitsap School District's best interest to accept such proposal. The right is reserved by South Kitsap School District to waive any informalities or errors in the proposal that, in the sole opinion of South Kitsap School District, do not materially affect the proposal (RCW 43.19).

## 11. AWARDING BASIS:

The District will award the contract on the following basis:

Price	50 %

Integrates with Existing Infrastructure	30 %

Technical Specifications and Design	15 %

Customer References	5 %

## 12. CONFLICTS OF INTEREST:

No director, employee or agent of the vendor shall give or receive any commission, fee, rebate, gift or entertainment of significant cost or value in connection with the work, or enter into any non-consumer business arrangement with any director, employee representative of the District, other than as a representative of the District, without prior written notification thereof to the District. Any representative(s) authorized by the District's Superintendent may audit all records of the vendor, that pertain to the District, for the sole purpose of determining whether there has been compliance with this paragraph. Information obtained through this process shall be administered confidentially.

## 13. PRICE GUARANTEE:

Prices must remain firm for the duration of the contract as specified in Section 14.

Award of this proposal is contingent upon the approval of funding from the Schools and Libraries Universal Service Program. The successful vendor agrees to receive a portion of the payment for the provisions of goods and services described herein directly from the Universal Service Fund (“USF”), and/or its agents, the National Exchange Carrier Associations (“NECA”), and/or the Schools and Libraries Division (“SLD”). The District and the successful vendor will act in a reasonable manner and comply with any Schools and Libraries Universal Service Fund Program requirements as described under Section 254 of the Communications Act of 1934, as amended, 47 C.F.R. #254, and any competitive bidding requirements contained in 47 C.F.R.#54.504.

## 14. DURATION OF CONTRACT:

All purchasing, delivery and invoicing shall be in accordance with Federal E-Rate guidelines, and shall commence no sooner than July 1, 2020. Purchase orders will be issued upon successful funding commitment from USAC. If funding commitment is not received by January 1, 2021, the District reserves the right to terminate the contract.

## 15. ASSIGNMENT OF CONTRACT:

The vendor shall not assign this contract, any part thereof, nor any monies owing thereunder, without the prior written approval of the District.

The vendor shall have total responsibility for meeting the terms and conditions of this contract.

## 16. ADVERTISING:

Award of this contract does not grant the right to the vendor to utilize the award in any advertising media without written consent of the District.

## 17. CONTACT INFORMATION:

For information about this RFP, please contact IN WRITING / E-MAIL:

Kerry Melcher (kmelcher@skschools.org)
South Kitsap School District #402

2689 Hoover Ave SE

Port Orchard, WA  98366

Phone (360) 874-7047 (for communication difficulties only)

Questions will be documented, routed to an appropriate staff member for response, and the response will be e-mailed and posted on the web site. Vendors are reminded that questions must be submitted in writing or e-mail, and questions and responses will be posted on the South Kitsap School District web site at https://www.skschools.org/erate

# PROJECT REQUIREMENTS

South Kitsap School District is requesting proposals to upgrade the Uninterruptible Power Supplies (UPS) to support the network equipment at several school campus.

## EXISTING NETWORK CONFIGURATION:

The South Kitsap School District has APC/Schneider Electric UPSs installed throughout the district in MDF and IDF closets for network equipment.  The UPSs each have a network card with temperature probe that allows us to centrally monitor and manage the UPS.  Depending on the size of the network closet, the main models that we have in service are SRT3000 and SRT5000 units with expandable batteries, and the SMT-2200 and SMT-1500 units with fixed batteries.  Our target run time has historically been 45 mins. We are currently not meeting that target because of an increase in the number of PoE devices on the network. In some cases, we have added a second UPS to a closet to try and meet the run time target.

Most all of the locations currently have 5-20r electrical receptacles at the wall.  We prefer the SRT2200 models so that we can use the existing electrical connections.

The UPSs are managed by a centralized Schneider Electric Struxureware management system for monitoring the UPS status and statistics, and for updating firmware.  Any proposed UPSs must be able to be fully managed by the Struxureware system.

## DESIRED NETWORK EQUIPMENT:

This agreement should include the ability to purchase UPS hardware (or their equivalent/updated part numbers) over the next five (5) years. The site equipment list (below) will be purchased over the next two to three years depending on E-rate funding, District budgets, site priorities and equipment age. The site equipment list was prepared with a target of 2 hours of run time per MDF/IDF.

If shipping is not included, please provide shipping cost by item in the optional list and by MDF/IDF at each site in the site equipment list.  Equipment for each school will be shipped to that school and may require coordination for delivery during school holidays.  Shipping addresses are in Appendix B.

Proposals may also include options for support and software updates that are eligible under the E-rate.

The district’s network UPS infrastructure is currently 100% APC/Schneider Electric products.  We do not intend to manage and support mixed products from multiple manufacturers.

The District is requesting equipment items for purchase, and will take responsibility for installation and configuration.

## EQUIPMENT:

Equipment list:

Sites List Eligible for eRate

- South Kitsap High School

  - MDF

    - 3 ea. APC Smart-UPS SRT 192V 5kVA and 6kVA RM Battery Pack -Battery encloser – PN. SRT192RBBP

    - 1 ea. APC Smart-UPS SRT 15ft Extension Cable for 192VDC External Battery Packs – PN. SRT002

  - IDF1

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF2

    - 3 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF3

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF4

    - 2 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF5

    - 2 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF6

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF7

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF8

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF9

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF10

    - 2 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF-Armory

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF-IC

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

- Cedar Heights Middle School

  - MDF

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 5 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF2

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF3

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF4

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF-AC

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF-IC

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

- John Sedgwick Middle School

  - MDF

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 2 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF2

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 5 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC Smart-UPS SRT 15ft Extension cable for 72VDC External Battery Packs 2200VA UPS – PN. SRT009

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF3

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF4

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF-AC

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF-IC

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

- Marcus Whitman Middle School

  - MDF

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 2 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF2

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 5 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC Smart-UPS SRT 15ft Extension cable for 72VDC External Battery Packs 2200VA UPS – PN. SRT009

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF3

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF4

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF-AC

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF-IC

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

- Burley Glenwood Elementary School

  - MDF

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 2 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF2

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 1 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF3

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF-IC

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

- East Port Orchard Elementary School

  - MDF

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 2 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

- Hidden Creek Elementary School

  - MDF

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 2 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF2

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

- Manchester Elementary School

  - MDF

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 2 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

- Mullenix Ridge Elementary School

  - MDF

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 2 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

- Orchard Heights Elementary School

  - MDF

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 3 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF2

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF3

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF-IC

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

- Olalla Elementary School

  - MDF

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 2 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF2

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF3

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF-AC

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

- South Colby Elementary School

  - MDF

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 2 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF2

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

- Sidney Glen Elementary School

  - MDF

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 4 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

- Sunnyslope Elementary School

  - MDF

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 2 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF2

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF3

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

- Discovery Alt High School/Madrona Heights PreSchool

  - MDF

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 2 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF2

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF3

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

Sites List NOT Eligible for eRate

- Explorer Academy

  - MDF

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF2

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

- District Office

  - MDF

    - 1 ea. APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

    - 2 ea. APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF2

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF3

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF-AC

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

- Facilities

  - MDF

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

- Food Service and Warehouse

  - MDF

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

  - IDF2

    - 1 ea. APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

    - 1 ea. APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

Optional parts list for purchase as needed over the contract:

- SRT Parts 220VA 120v (NEMA 5-20p input connector)

  - APC Smart-UPS SRT 2200VA 120v – PN. SRT2200XLA

  - APC Smart UPS SRT 72V 2.2kVA Battery Pack – PN. SRT72BP

  - APC Replacement Battery Cartridge #141 – PN. APCRBC141

  - APC Smart-UPS SRT 15ft Extension cable for 72VDC External Battery Packs 2200VA UPS – PN. SRT009

- SRT Parts 5K 208v (NEMA L6-20P input connector)

  - APC Smart-UPS SRT 5000VA RM UPS – PN. SRT5KRMXLT

  - APC Smart-UPS SRT 192V 5kVA and 6kVA RM Battery Pack -Battery encloser – PN. SRT192RBBP

  - APC Smart-UPS SRT 15ft Extension Cable for 192VDC External Batter Packs – PN. SRT002

  - APC Replacement battery cartridge #140 – PN. APCRBC140 (for 192V system).

- SRT Parts 3K 120v (NEMA L5-30P input connector)

  - APC Smart-UPS SRT 3000VA 120v – PN. SRT3000XLA

  - APC Smart-UPS SRT 96V 3kVA RM Battery Pack – PN. SRT96BP

  - APC Smart-UPS SRT 15ft Extension Cable for 96VDC External Battery Packs 300VA – PN SRT010

  - APC Replacement Battery Cartridge #152 – PN. APCRBBC152

- SRT rail kits

  - APC 2-post mounting rail kit for Smart-UPS SRT – PN. SRTRK3

  - APC Smart-UPS SRT 19” rail kit for SRT 2.2/3kVA – PN. SRTRK4

  - APC 4-Post Rackmount Rails – PN. SU032A

- SMT Parts (NEMA 5-20p input connector)

  - APC Smart-UPS 2200VA LCD 120V – PN. SMT2200C

  - APC Replacement Battery Cartridge #55 – PN. RBC55

- Both SRT and SMT

  - APC UPS Network Management Card 3 with Environmental monitoring – PN. AP9641

APPENDICES

## APPENDIX A. CERTIFICATIONS:

### Debarment:

As per the Code of Federal Regulation, this certification is required when federal funds are being utilized.

Service Provider certifies that neither it, nor its principals, is presently debarred, suspended, proposed for debarment, declared ineligible, or voluntarily excluded from participation in this transaction by any federal department or agency and has authorization to enter into the attached contract.

### Non-Collusion:

Service Provider certifies proposal  is genuine and not sham or collusive or made in the interest or on behalf of any person not thereon, named, and further, that the Service Provider has not directly or indirectly induced or solicited any other service provider on the foregoing work or equipment to put in a sham proposal, or any other person or corporation to refrain from responding, and that Service Provider has not, in any manner, sought by collusion to secure himself, or to any other person, an advantage over any other Service Provider or Service Providers.

### Non-Discrimination:

Service Provider agrees not to discriminate against any client, employee or applicant for employment because of race, creed, color, national origin, sex, or age. The service provider must also comply with any applicable affirmative action programs. This provision shall become a material part of the contract and shall be grounds, if violated, for termination of the contractual relationship at the discretion of South Kitsap School District.

Crimes Against Children

Pursuant to RCW 28A.400.303, any employees or subcontractors of the Service Provider who will have unsupervised access to children as part of installation, shall be required to have successful completion of a background record check through the Washington State Patrol Criminal Identification System, under RCW 43.43.830-.834, RCW 10.97.30.50, and through the Federal Bureau of Investigation, prior to having unsupervised access to children.  Service Provider shall provide for, and pay all costs associated with the background checks for their employees or subcontractors.

### Contract Addendums:

Service Provider has reviewed any addendums to this document as posted on the district’s web site (https://www.skschools.org/depts/technology/erate) and response includes any applicable information from those addendums.

As an authorized agent of this company, I certify the pricing provided and all of the above statements are true and correct.

_________________________________________________		______________________

Signature of Service Provider Agent				Date

Service Provider Name:  ______________________________________________

Service Provider Agent Name:  _________________________________________

## APPENDIX B. Site Shipping addresses:

Shipping Addresses:

- South Kitsap High School (SKHS)

  - 425 Mitchell Ave SE

  - Port Orchard, WA 98366

- Cedar Heights Middle School (CH)

  - 2220 Pottery Ave.

  - Port Orchard, WA 98366

- John Sedgwick Middle School (JS)

  - 8995 SE Sedgwick Rd.

  - Port Orchard, WA 98366

- Marcus Whitman Middle School (MW)

  - 1887 Madrona Dr SE

  - Port Orchard, WA 98366

- Burley-Glenwood Elementary (BG)

  - 100 SW Lakeway Blvd

  - Port Orchard, WA 98367

- Hidden Creek Elementary (HC)

  - 5455 Converse Rd. SE

  - Port Orchard, WA 98367

- Manchester Elementary (MAN)

  - 1901 California Ave. E.

  - Port Orchard, WA 98366

- Mullenix Ridge Elementary (MR)

  - 3900 SE Mullenix Rd.

  - Port Orchard, WA 98367

- Orchard Heights Elementary (OH)

  - 2288 Fircrest Dr. SE.

  - Port Orchard, WA 98366

- Olalla Elementary (OL)

  - 6100 SE Denny Bond Blvd

  - Olalla, WA 98359

- South Colby Elementary (SC)

  - 3281 Banner Rd. SE

  - Port Orchard, WA 98366

- Sidney Glen Elementary (SG)

  - 500 SW Birch Rd

  - Port Orchard, WA 98367

- Sunnyslope Elementary (SS)

  - 4183 Sunnyslope Rd. SW

  - Port Orchard, WA 98367

- Discovery Alternative High School (DISC)

  - 2150 Fircrest Dr SE

  - Port Orchard, WA 98366

- Explorer Academy (EA)

  - 1723 Wolves Dr.

  - Port Orchard, WA 98366

- District Office / ITS (ITS)

  - 2700 Hoover Ave SE

  - Port Orchard, WA 98366

- Facilities and Operations (FO)

  - 1650 SE Cedar Rd

  - Port Orchard, WA 98366

- Food Service/Warehouse (FNS/WH)

  - 1650 Madrona Dr SE

  - Port Orchard, WA 98366