| Run for OS2 | distance (ft) |
| --- | --- |
| HS building to Gym | 370 |
| A-Vault to R-203 | 387 |
| R-203 to E-200 | 133 |
| R-203 to R-103 | 150 |
| R-203 to R-105 | 150 |
| A-Vault to C-201 | 370 |
| C-201 to C-100 | 50 |
| C-201 to D-200 | 97 |
| A-Vault to S-200 | 280 |
| HS building to A-Vault (buried) | 1000 |

Each run is inside a building except for the HS runs. The original fiber for the HS to Gym has a dedicated conduit but the HS to A-Vault might be a direct burial.

1. I have a set of Ubiquiti Building-to-building Bridge XG that needs to be installed to connect the HS to A-Vault prior to the fiber being run.

2. 2 connections per run for failover

3. 4 connections from R-203 to E-200

4. Junction points at R-203 and C-201 go straight to A-Vault via junction box

5. Ubiquiti SFP modules are required