## Rollup
Requirement |  |  |  | Proposal
This Excel spreadsheet shall be provided as part of the bidder’s response to identify all equipment and material that is being proposed. If additional components are needed to make an item fully functional, insert additional rows under the appropriate item to identify additional components that are being proposed to go with that item. |  |  |  |  | Vendor Name and Spin:
NOTES: Failure to provide this spreadsheet as an Excel file with the proposal will result in the bid not being considered. If equipment is different from what is requested, documentation must be provided with the proposal demonstrating that the proposed equipment is equivalent and will work in the existing network Installation shall include all labor and any miscellaneous material (i.e.: connectors) needed to install and configure the item |  |  |  |  | Quote Number (if applicable):
Quanity | Required Make and Model |  | Description | Quanity | Proposed Manufacturer | Proposed Model Number | Proposed Model/SKU Number | Unit Item Cost
9 | Extreme Networks, or Equivalent | 4220-4MW-20P-4X | 4220 24 port stackable MultiGig switchwith 4 G/2.5G/5GBaseT 90W POE ports 20 10/100/1000BaseT 30W POE ports 4 1G/10G SFP+ ports. Includes Fans 1 Fixed AC PSU with option to add external redundant PSU
17 | Extreme Networks, or Equivalent | 4220-8MW-40P-4X | 4220 48 port stackable MultiGig switch with 8 1G/2.5G/5GBaseT 90W POE ports 40 10/100/1000BaseT 30W POE ports 4 1G/10G SFP+ ports. Includes Fans 1 Fixed AC PSU with option to add external redundant PSU
26 | Extreme Networks, or Equivalent | 10099 | Power Cord 15A USA NEMA 5-15 IEC320-C15
26 | Extreme Networks, or Equivalent | USK12-STD-A-S-C-EW-5Y | Extreme Platform ONE Standard Networking for Tier A includes ExtremeWorks Right-to-Use Subscription and TAC OS for one Tier A device for 5 Years (US K-12)
26 | Extreme Networks, or Equivalent | 10304_ | Stacking/Uplink cable with link lengths of 1m
20 | Extreme Networks, or Equivalent | 10302_ | 10 Gigabit Ethernet SFP+ module, 1310nm, SMF 10km link, LC connector
20 | Extreme Networks, or Equivalent | FO_PC | Fiber Patch Cord, Single Mode, Length as required
2 | Extreme Networks, or Equivalent | 5520-24X | ExtremeSwitching 5520 24 1Gb/10Gb SFP+ ports 2 stacking/QSFP28 1 unpopulated VIM slot includes 2 fan modules 2 unpopulated modular PSU slots.
4 | Extreme Networks, or Equivalent | XN-ACPWR-350W-FB | 350W AC Power Supply Module - front to back airflow
4 | Extreme Networks, or Equivalent | 10099 | Power Cord 15A USA NEMA 5-15 IEC320-C15
2 | Extreme Networks, or Equivalent | 100G-DACP-QSFPZ5M_ | 100Gb, QSFP28-QSFP28 Direct attach passive copper cable, 0.5m
2 | Extreme Networks, or Equivalent | USK12-STD-C-S-C-EW-5Y | Extreme Platform ONE Standard Networking for Tier C includes ExtremeWorks Right-to-Use Subscription and TAC OS for one Tier C device for 5 Years (US K-12)
20 | Extreme Networks, or Equivalent | 10302_ | 10 Gigabit Ethernet SFP+ module, 1310nm, SMF 10km link, LC connector
20 | Extreme Networks, or Equivalent | FO_PC | Fiber Patch Cord, Single Mode, Length as required
110 | Extreme Networks, or Equivalent | AP4020-WW | Indoor Quad Radio Wi-Fi 7 (2x2) 2.4GHz 5GHz 6GHz and dedicated sensor Multi-Rate Port internal antennas. T-Bar Incl Mt (AH-ACC-BKT-AX-TB).
110 | Extreme Networks, or Equivalent | USK12-STD-A-S-C-EW-5Y | Extreme Platform ONE Standard Networking for Tier A includes ExtremeWorks Right-to-Use Subscription and TAC OS for one Tier A device for 5 Years (US K-12)
11 | Extreme Networks, or Equivalent | AP4060-WW | Outdoor Quad Radio Wi-Fi 7 (2x2) 2.4GHz 5GHz 6GHz and dedicated sensor Multi-Rate Port internal antennas. Domain World SKU
11 | Extreme Networks, or Equivalent | KT-147407-02 | OUTDOOR MOUNTING HARDWARE KIT FOR OUTDOOR ACCESS POINTS- STAINLESS STEEL FOR HARSH ENVIRONMENTS
11 | Extreme Networks, or Equivalent | USK12-STD-A-S-C-EW-5Y | Extreme Platform ONE Standard Networking for Tier A includes ExtremeWorks Right-to-Use Subscription and TAC OS for one Tier A device for 5 Years (US K-12)