East Porter County School Corporation
BEN: 130328
470# 270002014
Date: 10/22/2026

Update 2 to 470# 270002014
Vendor Questions and Applicant Responses
*Per the Form 470 and RFP, vendor questions will not be accepted after 12:00pm CST on Thursday, 10/29/2026.

Question 1: Are some of the network management cards being requested for existing UPS?  If so, how many are for existing versus new?
Response 1: 18 cards are being requested for new UPSs, and 2 cards are being requested for existing.

Question 2: Should our proposal include only the supply and delivery of the UPS units and network management cards listed in Appendix A, or should it also include installation and configuration?
If installation is required, please confirm whether this includes removal of existing UPS units, rack mounting the new equipment, installing and configuring the network management cards, and testing. Would you prefer installation labor priced as a separate line item?
Response 2: We do not need any installation or configuration. We did not ask for this in the RFP/470. 

Question 3: Please clarify the first line's 2000VA/1800W description against the SU2200 model number.  Which minimum VA/W ratings control?
Response 3: SU2200RTXLCD2U - Eaton Tripp Lite Series Tripp Lite series SmartOnline 2000VA 1800W 120V Double-Conversion Sine Wave UPS
7 Outlets, Extended Run, Network Card Option, LCD, USB, DB9, 2U Rack/Tower Battery Backup - UPS - 16 A - AC 100/110/115/120/127 V - 1800 Watt - 2200 VA - 1 x battery - RS-232, USB - output connectors: 7 - 2U - 19"
Question 4: Please confirm which UPSs requires the 20 cards, whether they include existing UPSs, required input plugs/output receptacles and runtime, rack depth/mounting constraints, and delivery sites.
Response 4: 18 cards are being requested for new UPSs, and 2 cards are being requested for existing. Delivery will be to 302 E College Ave. Kouts, IN 46347 Door 9.

Question 5: For the two similar-installation references, may qualified installation team/subcontractor references be used with their role disclosed?
Response 5: We do not need any installation or configuration for this project.  





